## Notes
Supplementary Table S7. Empirical lipid-class response factors (RIE) used in the ClimGrass quantification correction
What this table is:
Empirically measured relative ionization efficiencies (RIE), per lipid class and adduct, that the adopted ClimGrass decomposition pipeline uses to correct for differential lipid-class response under electrospray ionization. The correction divides each detected feature's intensity by its class/adduct RIE (expressed relative to LPE), so classes that ionize strongly (high RIE, e.g. PC, SM) are scaled down and classes that ionize weakly (low RIE, e.g. MG, DG, SQDG) are scaled toward a common LPE reference.
Adopted pipeline configuration (Figure 5 v2, positive mode):
IS normalization + RIE correction under Rule A + ArchLips archaeal restriction. Composition is read from a held-out mixture benchmark (marker-panel estimator as the provenance-of-signal readout; fc-weighted BC with rules as the living-community readout). The RIE correction uses the M+H and M+NH4 rows.
How the applied factor is derived (Rule A calibration gate):
1. Mean RIE relative to LPE is taken across all measured standards within each (lipid class, adduct) group (framework/corrections.py: groupby(class, adduct).mean()).
2. Rule A calibration gate: a class is used for correction only if its mean RIE falls inside the trusted window [0.20, 100]. In-window classes are corrected by factor = 1 / RIE. Classes whose RIE falls outside the window (below 0.20 or above 100) are treated as UNCALIBRATED and left uncorrected (factor = 1.0).
3. This replaces the hard floor/ceiling clip used in the originally submitted Fig. 6a pipeline, which set out-of-range RIE to the 0.20 floor (5x amplification) or the 100 ceiling (0.01x suppression). Rule A applies no amplification to out-of-range classes at all.
Why Rule A (Supplementary Method 8, revised):
Even with a 0.20 floor, the lowest-RIE classes were amplified 5x, concentrating leverage in a handful of noise-level features (MG RIE 0.0005, DG 0.03) and previously flipping the published Actinomycetota drought direction. A 5x extrapolation of a standard whose ionization efficiency sits far outside the calibrated range is not trustworthy, so Rule A declines to correct those classes rather than amplifying them. This preserves the published treatment-effect directions while removing the floor-amplification artifact.
Effect on this table: 16 of 57 (class, adduct) groups fall outside the window and are uncalibrated under Rule A (15 below 0.20, previously 5x; and LPC M+H above 100, previously 0.01x). The 41 in-window groups are unchanged (factor = 1 / RIE). The 'Uncapped factor' column shows the naive 1 / RIE that Rule A declines to apply.
Adduct anchors: within M+H and M-H, RIE is normalized to LPE = 1.0. The formate (M+HCOO) and ammonium (M+NH4) adducts have no LPE standard, so those adduct groups are normalized to their own in-adduct anchor (HexCer = 1.0 for M+HCOO; PS = 1.0 for M+NH4); the column name 'RIE relative to LPE' is retained from the source. The positive-mode ClimGrass correction (Fig. 5) uses the M+H and M+NH4 rows; the M-H / M+HCOO rows are the negative-mode equivalents.
Sheets: 'RIE_all_adducts' = full per-(class, adduct) table (all four adducts). 'RIE_positive_mode' = the M+H and M+NH4 rows that underpin the adopted positive-mode correction.
Underlying factors: Samrat et al. (2025), Soil Biology & Biochemistry, Supplementary Table S10.
Source file: analysis/analysis-19/00_inputs/rie_table_s10.csv (109 standard measurements). RIE aggregation + calibration window: analysis-19/framework/corrections.py. Rule A (out-of-range -> uncalibrated 1.0): paper2_repro/scripts/climgrass_strict16_rulefix.py (make_rule_a). Adopted in figure5_redesign_v2.py. Window bounds RIE_floor = 0.20, RIE_ceiling = 100.
Strict-16 rebuild 2026-08-12: rebuilt to document the Figure 5 v2 correction (Rule A) rather than the submitted hard-floor pipeline. The measured RIE values and log10(RIE) are unchanged and reproduce exactly from the 109-standard source (max ¦delta¦ 5e-15); only the out-of-range handling and the derived factor columns changed. RIE is a lipid-class property with no taxonomic content, so this table is otherwise unaffected by the strict-phyla correction.

## RIE_all_adducts
Supplementary Table S7. Empirical response (RIE) factors - RIE all adducts
RIE relative to LPE. Rule A calibration gate (Figure 5 v2): classes with RIE inside the trusted window [0.20, 100] are corrected by 1 / RIE; classes outside the window are treated as uncalibrated and left uncorrected (factor 1.0).
Lipid class | Adduct | Ionization mode | n standards averaged | RIE relative to LPE | log10(RIE) | RIE in calibrated window [0.20, 100]? | Correction status (Rule A) | Applied correction factor | Uncapped factor (1 / RIE)
MG | M+H | Positive | 1 | 0.00048272 | -3.3163 | no | uncalibrated | 1 | 2071.608
SQDG | M+H | Positive | 1 | 0.00096542 | -3.0153 | no | uncalibrated | 1 | 1035.814
MGDG | M+H | Positive | 1 | 0.0025911 | -2.5865 | no | uncalibrated | 1 | 385.9327
TG | M+H | Positive | 1 | 0.0060515 | -2.2181 | no | uncalibrated | 1 | 165.2481
DG | M+H | Positive | 2 | 0.032342 | -1.4902 | no | uncalibrated | 1 | 30.9194
CE | M+H | Positive | 1 | 0.10554 | -0.97657 | no | uncalibrated | 1 | 9.4747
PG | M+H | Positive | 2 | 0.12862 | -0.8907 | no | uncalibrated | 1 | 7.775
PI | M+H | Positive | 2 | 0.26376 | -0.5788 | yes | calibrated | 3.7914 | 3.7914
CERP | M+H | Positive | 1 | 0.44442 | -0.35221 | yes | calibrated | 2.2501 | 2.2501
LPA | M+H | Positive | 1 | 0.81163 | -0.090639 | yes | calibrated | 1.2321 | 1.2321
HEXCER | M+H | Positive | 1 | 1.4414 | 0.15879 | yes | calibrated | 0.69376 | 0.69376
CER | M+H | Positive | 2 | 3.7818 | 0.57769 | yes | calibrated | 0.26443 | 0.26443
LPI | M+H | Positive | 1 | 4.0146 | 0.60364 | yes | calibrated | 0.24909 | 0.24909
LPG | M+H | Positive | 1 | 4.8607 | 0.6867 | yes | calibrated | 0.20573 | 0.20573
LPE | M+H | Positive | 3 | 6.1417 | 0.78829 | yes | calibrated | 0.16282 | 0.16282
PS | M+H | Positive | 3 | 7.0237 | 0.84657 | yes | calibrated | 0.14237 | 0.14237
LPS | M+H | Positive | 1 | 12.0396 | 1.0806 | yes | calibrated | 0.083059 | 0.083059
PE | M+H | Positive | 3 | 13.172 | 1.1197 | yes | calibrated | 0.075919 | 0.075919
DGTS | M+H | Positive | 1 | 22.9075 | 1.36 | yes | calibrated | 0.043654 | 0.043654
SM | M+H | Positive | 3 | 31.132 | 1.4932 | yes | calibrated | 0.032121 | 0.032121
PC | M+H | Positive | 3 | 48.292 | 1.6839 | yes | calibrated | 0.020707 | 0.020707
LPC | M+H | Positive | 3 | 976.4858 | 2.9897 | no | uncalibrated | 1 | 0.0010241
MG | M+NH4 | Positive | 1 | 0.0031631 | -2.4999 | no | uncalibrated | 1 | 316.1462
CER | M+NH4 | Positive | 1 | 0.0089698 | -2.0472 | no | uncalibrated | 1 | 111.4854
SQDG | M+NH4 | Positive | 1 | 0.016868 | -1.7729 | no | uncalibrated | 1 | 59.2827
DGTS | M+NH4 | Positive | 1 | 0.025538 | -1.5928 | no | uncalibrated | 1 | 39.1572
DGDG | M+NH4 | Positive | 1 | 0.12498 | -0.90316 | no | uncalibrated | 1 | 8.0013
PS | M+NH4 | Positive | 1 | 1 | 0 | yes | calibrated | 1 | 1
MGDG | M+NH4 | Positive | 1 | 3.6158 | 0.55821 | yes | calibrated | 0.27656 | 0.27656
DG | M+NH4 | Positive | 3 | 4.0878 | 0.61149 | yes | calibrated | 0.24463 | 0.24463
PI | M+NH4 | Positive | 3 | 11.1688 | 1.048 | yes | calibrated | 0.089535 | 0.089535
TG | M+NH4 | Positive | 2 | 13.3765 | 1.1263 | yes | calibrated | 0.074758 | 0.074758
PG | M+NH4 | Positive | 3 | 17.9456 | 1.254 | yes | calibrated | 0.055724 | 0.055724
PA | M+NH4 | Positive | 1 | 47.3155 | 1.675 | yes | calibrated | 0.021135 | 0.021135
SQDG | M-H | Negative | 1 | 0.090958 | -1.0412 | no | uncalibrated | 1 | 10.9941
HEXCER | M-H | Negative | 1 | 0.26565 | -0.5757 | yes | calibrated | 3.7644 | 3.7644
CER | M-H | Negative | 3 | 0.27642 | -0.55843 | yes | calibrated | 3.6177 | 3.6177
CERP | M-H | Negative | 1 | 0.5975 | -0.22366 | yes | calibrated | 1.6736 | 1.6736
LPE | M-H | Negative | 4 | 5.5256 | 0.74238 | yes | calibrated | 0.18098 | 0.18098
LPA | M-H | Negative | 1 | 5.685 | 0.75473 | yes | calibrated | 0.1759 | 0.1759
PG | M-H | Negative | 4 | 5.9378 | 0.77363 | yes | calibrated | 0.16841 | 0.16841
PI | M-H | Negative | 4 | 6.0966 | 0.78509 | yes | calibrated | 0.16403 | 0.16403
PE | M-H | Negative | 4 | 6.347 | 0.80257 | yes | calibrated | 0.15756 | 0.15756
LPS | M-H | Negative | 1 | 13.5338 | 1.1314 | yes | calibrated | 0.073889 | 0.073889
LPI | M-H | Negative | 1 | 16.4034 | 1.2149 | yes | calibrated | 0.060963 | 0.060963
PA | M-H | Negative | 1 | 17.2936 | 1.2379 | yes | calibrated | 0.057825 | 0.057825
LPG | M-H | Negative | 1 | 20.8578 | 1.3193 | yes | calibrated | 0.047944 | 0.047944
PS | M-H | Negative | 4 | 60.4308 | 1.7813 | yes | calibrated | 0.016548 | 0.016548
DGDG | M+HCOO | Negative | 1 | 0.010271 | -1.9884 | no | uncalibrated | 1 | 97.3588
SQDG | M+HCOO | Negative | 1 | 0.015419 | -1.812 | no | uncalibrated | 1 | 64.8571
MGDG | M+HCOO | Negative | 1 | 0.38488 | -0.41467 | yes | calibrated | 2.5982 | 2.5982
DGTS | M+HCOO | Negative | 1 | 0.51885 | -0.28496 | yes | calibrated | 1.9273 | 1.9273
HEXCER | M+HCOO | Negative | 1 | 1 | 0 | yes | calibrated | 1 | 1
PC | M+HCOO | Negative | 4 | 1.0693 | 0.029103 | yes | calibrated | 0.93518 | 0.93518
SM | M+HCOO | Negative | 4 | 1.9824 | 0.2972 | yes | calibrated | 0.50443 | 0.50443
CER | M+HCOO | Negative | 4 | 2.0639 | 0.31469 | yes | calibrated | 0.48452 | 0.48452
LPC | M+HCOO | Negative | 4 | 51.351 | 1.7105 | yes | calibrated | 0.019474 | 0.019474
Uncalibrated = mean RIE outside the trusted window [0.20, 100]; Rule A leaves these classes uncorrected (factor 1.0) rather than extrapolating. Uncapped factor = naive 1 / RIE, shown for reference.

## RIE_positive_mode
Supplementary Table S7. Empirical response (RIE) factors - RIE positive mode
RIE relative to LPE. Rule A calibration gate (Figure 5 v2): classes with RIE inside the trusted window [0.20, 100] are corrected by 1 / RIE; classes outside the window are treated as uncalibrated and left uncorrected (factor 1.0).
Lipid class | Adduct | Ionization mode | n standards averaged | RIE relative to LPE | log10(RIE) | RIE in calibrated window [0.20, 100]? | Correction status (Rule A) | Applied correction factor | Uncapped factor (1 / RIE)
MG | M+H | Positive | 1 | 0.00048272 | -3.3163 | no | uncalibrated | 1 | 2071.608
SQDG | M+H | Positive | 1 | 0.00096542 | -3.0153 | no | uncalibrated | 1 | 1035.814
MGDG | M+H | Positive | 1 | 0.0025911 | -2.5865 | no | uncalibrated | 1 | 385.9327
TG | M+H | Positive | 1 | 0.0060515 | -2.2181 | no | uncalibrated | 1 | 165.2481
DG | M+H | Positive | 2 | 0.032342 | -1.4902 | no | uncalibrated | 1 | 30.9194
CE | M+H | Positive | 1 | 0.10554 | -0.97657 | no | uncalibrated | 1 | 9.4747
PG | M+H | Positive | 2 | 0.12862 | -0.8907 | no | uncalibrated | 1 | 7.775
PI | M+H | Positive | 2 | 0.26376 | -0.5788 | yes | calibrated | 3.7914 | 3.7914
CERP | M+H | Positive | 1 | 0.44442 | -0.35221 | yes | calibrated | 2.2501 | 2.2501
LPA | M+H | Positive | 1 | 0.81163 | -0.090639 | yes | calibrated | 1.2321 | 1.2321
HEXCER | M+H | Positive | 1 | 1.4414 | 0.15879 | yes | calibrated | 0.69376 | 0.69376
CER | M+H | Positive | 2 | 3.7818 | 0.57769 | yes | calibrated | 0.26443 | 0.26443
LPI | M+H | Positive | 1 | 4.0146 | 0.60364 | yes | calibrated | 0.24909 | 0.24909
LPG | M+H | Positive | 1 | 4.8607 | 0.6867 | yes | calibrated | 0.20573 | 0.20573
LPE | M+H | Positive | 3 | 6.1417 | 0.78829 | yes | calibrated | 0.16282 | 0.16282
PS | M+H | Positive | 3 | 7.0237 | 0.84657 | yes | calibrated | 0.14237 | 0.14237
LPS | M+H | Positive | 1 | 12.0396 | 1.0806 | yes | calibrated | 0.083059 | 0.083059
PE | M+H | Positive | 3 | 13.172 | 1.1197 | yes | calibrated | 0.075919 | 0.075919
DGTS | M+H | Positive | 1 | 22.9075 | 1.36 | yes | calibrated | 0.043654 | 0.043654
SM | M+H | Positive | 3 | 31.132 | 1.4932 | yes | calibrated | 0.032121 | 0.032121
PC | M+H | Positive | 3 | 48.292 | 1.6839 | yes | calibrated | 0.020707 | 0.020707
LPC | M+H | Positive | 3 | 976.4858 | 2.9897 | no | uncalibrated | 1 | 0.0010241
MG | M+NH4 | Positive | 1 | 0.0031631 | -2.4999 | no | uncalibrated | 1 | 316.1462
CER | M+NH4 | Positive | 1 | 0.0089698 | -2.0472 | no | uncalibrated | 1 | 111.4854
SQDG | M+NH4 | Positive | 1 | 0.016868 | -1.7729 | no | uncalibrated | 1 | 59.2827
DGTS | M+NH4 | Positive | 1 | 0.025538 | -1.5928 | no | uncalibrated | 1 | 39.1572
DGDG | M+NH4 | Positive | 1 | 0.12498 | -0.90316 | no | uncalibrated | 1 | 8.0013
PS | M+NH4 | Positive | 1 | 1 | 0 | yes | calibrated | 1 | 1
MGDG | M+NH4 | Positive | 1 | 3.6158 | 0.55821 | yes | calibrated | 0.27656 | 0.27656
DG | M+NH4 | Positive | 3 | 4.0878 | 0.61149 | yes | calibrated | 0.24463 | 0.24463
PI | M+NH4 | Positive | 3 | 11.1688 | 1.048 | yes | calibrated | 0.089535 | 0.089535
TG | M+NH4 | Positive | 2 | 13.3765 | 1.1263 | yes | calibrated | 0.074758 | 0.074758
PG | M+NH4 | Positive | 3 | 17.9456 | 1.254 | yes | calibrated | 0.055724 | 0.055724
PA | M+NH4 | Positive | 1 | 47.3155 | 1.675 | yes | calibrated | 0.021135 | 0.021135
Uncalibrated = mean RIE outside the trusted window [0.20, 100]; Rule A leaves these classes uncorrected (factor 1.0) rather than extrapolating. Uncapped factor = naive 1 / RIE, shown for reference.